## Page 1
Sequence name: | LC-LA273-2022-09-15 21-01-19+02-00
Description:
Acquisition date: | 2022-09-15 21:01:20+02:00
Acquired by: | SYSTEM
Data path: | C:\CDSProjects\CO2 Reduction\Results\LC-LA273-2022-09-15 21-01-19+02-00.rslt
Report version: | 2

## Page 2
Line# | Location | Sample Name | Injection Date | Acq Method Name | Acq Method Version | Injecti on DA Method Name | Injecti on DA Method Versi on | Time offset
2 | D3B-D1 | CuDura05_0min_D3B-D1 | 2022-09-15 22:02:55+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | CO2RR _Proce ssing_0 .6mL_C al_KCl_ new_20 221205 .pmx | 2022- 1205- 0927- 17082 | 0
3 | D3B-D3 | CuDura05_60min_D3B-D3 | 2022-09-15 22:36:05+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | CO2RR _Proce ssing_0 .6mL_C al_KCl_ new_20 221205 .pmx | 2022- 1205- 0927- 17082 | 60
4 | D3B-D5 | CuDura05_120min_D3B-D5 | 2022-09-15 23:09:15+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | CO2RR _Proce ssing_0 .6mL_C al_KCl_ new_20 221205 .pmx | 2022- 1205- 0927- 17082 | 120
5 | D3B-D7 | CuDura05_180min_D3B-D7 | 2022-09-15 23:42:25+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | CO2RR _Proce ssing_0 .6mL_C al_KCl_ new_20 221205 .pmx | 2022- 1205- 0927- 17082 | 180
8 | D3B-D9 | CuDura05_240min_D3B-D9 | 2022-09-16 02:16:20+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | CO2RR _Proce ssing_0 .6mL_C al_KCl_ new_20 221205 .pmx | 2022- 1205- 0927- 17082 | 240
9 | D3B-E2 | CuDura05_300min_D3B-E2 | 2022-09-16 02:49:29+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | CO2RR _Proce ssing_0 .6mL_C al_KCl_ new_20 221205 .pmx | 2022- 1205- 0927- 17082 | 300
10 | D3B-E4 | CuDura05_360min_D3B-E4 | 2022-09-16 03:22:39+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | CO2RR _Proce ssing_0 .6mL_C al_KCl_ new_20 221205 .pmx | 2022- 1205- 0927- 17082 | 360

## Page 3
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
3 | Formic acid | CuDura05_60min_D3B-D3 | 1 | 14.869 | 2391.986 | 56.723 | 0.2877 | 0.2877
4 | Formic acid | CuDura05_120min_D3B-D5 | 1 | 14.897 | 4944.879 | 109.937 | 0.5947 | 0.5947
5 | Formic acid | CuDura05_180min_D3B-D7 | 1 | 14.984 | 8711.679 | 191.681 | 1.0478 | 1.0478
8 | Formic acid | CuDura05_240min_D3B-D9 | 1 | 14.991 | 15418.803 | 336.373 | 1.8545 | 1.8545
9 | Formic acid | CuDura05_300min_D3B-E2 | 1 | 15.045 | 24848.901 | 530.207 | 2.9887 | 2.9887
10 | Formic acid | CuDura05_360min_D3B-E4 | 1 | 15.078 | 38089.429 | 796.846 | 4.5811 | 4.5811
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
4 | Acetic acid | CuDura05_120min_D3B-D5 | 1 | 16.113 | 411.286 | 13.319 | 0.0271 | 0.0271
5 | Acetic acid | CuDura05_180min_D3B-D7 | 1 | 16.2 | 1157.972 | 23.533 | 0.0753 | 0.0753
8 | Acetic acid | CuDura05_240min_D3B-D9 | 1 | 16.213 | 1594.476 | 34.028 | 0.1034 | 0.1034
9 | Acetic acid | CuDura05_300min_D3B-E2 | 1 | 16.234 | 1596.867 | 31.611 | 0.1036 | 0.1036
10 | Acetic acid | CuDura05_360min_D3B-E4 | 1 | 16.135 | 1228.651 | 16.112 | 0.0798 | 0.0798