## Page 1
Sequence name: | LC-LA273-2022-08-06 10-44-50+02-00
Description:
Acquisition date: | 2022-08-06 10:44:50+02:00
Acquired by: | SYSTEM
Data path: | C:\CDSProjects\CO2 Reduction\Results\LC-LA273-2022-08-06 10-44-50+02-00.rslt
Report version: | 2

## Page 2
Line# | Location | Sample Name | Injection Date | Acq Method Name | Acq Method Version | Injecti on DA Method Name | Injecti on DA Method Versi on | Time offset
3 | D1B-D1 | frbe-200804-Cu-25p-200mA-0min | 2022-08-06 12:46:36+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 0
4 | D1B-D2 | frbe-200804-Cu-25p-200mA-20min | 2022-08-06 13:19:45+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 20
5 | D1B-D3 | frbe-200804-Cu-25p-200mA-40min | 2022-08-06 13:52:56+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 40
6 | D1B-D4 | frbe-200804-Cu-25p-200mA-60min | 2022-08-06 14:26:05+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 60
7 | D1B-D5 | frbe-200804-Cu-25p-200mA-80min | 2022-08-06 14:59:15+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 80
8 | D1B-D6 | frbe-200804-Cu-25p-200mA-100min | 2022-08-06 15:32:26+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 100
9 |  |  | 2022-08-06 16:04:36+02:00 | CO2RR_ChA_equil_0.6mL_45 dgr_60min_noRIDflush.amx | 2022-0506-1522-45309 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530
10 |  |  | 2022-08-06 17:04:45+02:00 | CO2RR_ChA_equil_0.6mL_45 dgr_60min_noRIDflush.amx | 2022-0506-1522-45309 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530
11 | D1B-D7 | frbe-200804-Cu-25p-200mA-120min | 2022-08-06 18:06:20+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 120
12 | D1B-D8 | frbe-200804-Cu-25p-200mA-140min | 2022-08-06 18:39:30+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 140
13 | D1B-D9 | frbe-200804-Cu-25p-200mA-160min | 2022-08-06 19:12:41+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 160
14 | D1B-E1 | frbe-200804-Cu-25p-200mA-180min | 2022-08-06 19:45:50+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 180
15 | D1B-E2 | frbe-200804-Cu-25p-200mA-200min | 2022-08-06 20:19:01+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 200
16 | D1B-E3 | frbe-200804-Cu-25p-200mA-220min | 2022-08-06 20:52:11+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 220
17 |  |  | 2022-08-06 21:24:21+02:00 | CO2RR_ChA_equil_0.6mL_45 dgr_60min_noRIDflush.amx | 2022-0506-1522-45309 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530
18 |  |  | 2022-08-06 22:24:30+02:00 | CO2RR_ChA_equil_0.6mL_45 dgr_60min_noRIDflush.amx | 2022-0506-1522-45309 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530
19 | D1B-E4 | frbe-200804-Cu-25p-200mA-240min | 2022-08-06 23:26:05+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 240
20 | D1B-E5 | frbe-200804-Cu-25p-200mA-260min | 2022-08-06 23:59:15+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 260
21 | D1B-E6 | frbe-200804-Cu-25p-200mA-280min | 2022-08-07 00:32:24+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 280
22 | D1B-E7 | frbe-200804-Cu-25p-200mA-300min | 2022-08-07 01:05:34+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 300
23 | D1B-E8 | frbe-200804-Cu-25p-200mA-320min | 2022-08-07 01:38:44+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 320
24 | D1B-E9 | frbe-200804-Cu-25p-200mA-340min | 2022-08-07 02:11:54+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 340
25 | D1B-F1 | frbe-200804-Cu-25p-200mA-360min | 2022-08-07 02:45:05+02:00 | CO2RR_ChA_FTI_0.6mL_40u L_45dgr_32min.amx | 2022-0505-0844-32574 | *CO2R R_Proc essing_ 0.6mL_ Cal_KC l_new.p mx | 2022- 0807- 1426- 28530 | 360

## Page 3
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
4 | Glycolic acid | frbe-200804-Cu-25p-200mA-20min | 1 | 12.82 | 14276.004 | 516.878
5 | Glycolic acid | frbe-200804-Cu-25p-200mA-40min | 1 | 12.85 | 13065.775 | 433.217
6 | Glycolic acid | frbe-200804-Cu-25p-200mA-60min | 1 | 12.888 | 13505.8 | 424.998
7 | Glycolic acid | frbe-200804-Cu-25p-200mA-80min | 1 | 12.907 | 12433.642 | 372.077
8 | Glycolic acid | frbe-200804-Cu-25p-200mA-100min | 1 | 12.942 | 12982.036 | 377.092
11 | Glycolic acid | frbe-200804-Cu-25p-200mA-120min | 1 | 12.921 | 13192.79 | 393.303
12 | Glycolic acid | frbe-200804-Cu-25p-200mA-140min | 1 | 12.945 | 13745.358 | 392.048
13 | Glycolic acid | frbe-200804-Cu-25p-200mA-160min | 1 | 12.962 | 11736.487 | 339.78
14 | Glycolic acid | frbe-200804-Cu-25p-200mA-180min | 1 | 12.995 | 12886.47 | 346.21
15 | Glycolic acid | frbe-200804-Cu-25p-200mA-200min | 1 | 13.021 | 13285.305 | 346.926
16 | Glycolic acid | frbe-200804-Cu-25p-200mA-220min | 1 | 13.049 | 12451.851 | 317.22
19 | Glycolic acid | frbe-200804-Cu-25p-200mA-240min | 1 | 13.022 | 13083.763 | 348.185
20 | Glycolic acid | frbe-200804-Cu-25p-200mA-260min | 1 | 13.037 | 13458.664 | 348.148
21 | Glycolic acid | frbe-200804-Cu-25p-200mA-280min | 1 | 13.075 | 12700.575 | 330.892
22 | Glycolic acid | frbe-200804-Cu-25p-200mA-300min | 1 | 13.079 | 13309.398 | 342.57
23 | Glycolic acid | frbe-200804-Cu-25p-200mA-320min | 1 | 13.134 | 15870.589 | 383.465
24 | Glycolic acid | frbe-200804-Cu-25p-200mA-340min | 1 | 13.134 | 13455.276 | 315.781
25 | Glycolic acid | frbe-200804-Cu-25p-200mA-360min | 1 | 13.169 | 12317.515 | 288.013
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
5 | Formic acid | frbe-200804-Cu-25p-200mA-40min | 1 | 15.501 | 1978.479 | 52.917 | 0.238 | 0.238
6 | Formic acid | frbe-200804-Cu-25p-200mA-60min | 1 | 15.556 | 3574.723 | 90.487 | 0.43 | 0.43
7 | Formic acid | frbe-200804-Cu-25p-200mA-80min | 1 | 15.58 | 5851.279 | 136.99 | 0.7038 | 0.7038
8 | Formic acid | frbe-200804-Cu-25p-200mA-100min | 1 | 15.62 | 8620.443 | 195.064 | 1.0368 | 1.0368
11 | Formic acid | frbe-200804-Cu-25p-200mA-120min | 1 | 15.604 | 11460.205 | 268.759 | 1.3784 | 1.3784
12 | Formic acid | frbe-200804-Cu-25p-200mA-140min | 1 | 15.647 | 14709.342 | 331.763 | 1.7691 | 1.7691
13 | Formic acid | frbe-200804-Cu-25p-200mA-160min | 1 | 15.713 | 18397.565 | 404.726 | 2.2127 | 2.2127
14 | Formic acid | frbe-200804-Cu-25p-200mA-180min | 1 | 15.716 | 21959.106 | 471.412 | 2.6411 | 2.6411
15 | Formic acid | frbe-200804-Cu-25p-200mA-200min | 1 | 15.774 | 26360.733 | 548.859 | 3.1705 | 3.1705
16 | Formic acid | frbe-200804-Cu-25p-200mA-220min | 1 | 15.809 | 30171.186 | 622.075 | 3.6288 | 3.6288
19 | Formic acid | frbe-200804-Cu-25p-200mA-240min | 1 | 15.744 | 33981.897 | 732.466 | 4.0871 | 4.0871
20 | Formic acid | frbe-200804-Cu-25p-200mA-260min | 1 | 15.79 | 37717.42 | 802.506 | 4.5364 | 4.5364
21 | Formic acid | frbe-200804-Cu-25p-200mA-280min | 1 | 15.826 | 42922.469 | 879.169 | 5.1624 | 5.1624
22 | Formic acid | frbe-200804-Cu-25p-200mA-300min | 1 | 15.851 | 46645.811 | 931.921 | 5.6102 | 5.6102
23 | Formic acid | frbe-200804-Cu-25p-200mA-320min | 1 | 15.897 | 51604.969 | 1006.014 | 6.2067 | 6.2067
24 | Formic acid | frbe-200804-Cu-25p-200mA-340min | 1 | 15.971 | 54359.971 | 1026.622 | 6.538 | 6.538
25 | Formic acid | frbe-200804-Cu-25p-200mA-360min | 1 | 16.016 | 55995.887 | 1042.465 | 6.7348 | 6.7348
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
3 | Acetic acid | frbe-200804-Cu-25p-200mA-0min | 1 | 17.251 | 116.862 | 32.388 | 0.008 | 0.008
5 | Acetic acid | frbe-200804-Cu-25p-200mA-40min | 1 | 16.603 | 1372.382 | 30.15 | 0.0891 | 0.0891
6 | Acetic acid | frbe-200804-Cu-25p-200mA-60min | 1 | 16.661 | 1629.382 | 38.636 | 0.1057 | 0.1057
7 | Acetic acid | frbe-200804-Cu-25p-200mA-80min | 1 | 16.662 | 2199.087 | 51.114 | 0.1425 | 0.1425
8 | Acetic acid | frbe-200804-Cu-25p-200mA-100min | 1 | 16.666 | 3666.374 | 74.291 | 0.2372 | 0.2372
11 | Acetic acid | frbe-200804-Cu-25p-200mA-120min | 1 | 16.61 | 3747.376 | 80.742 | 0.2424 | 0.2424
12 | Acetic acid | frbe-200804-Cu-25p-200mA-140min | 1 | 16.655 | 4313.933 | 89.907 | 0.279 | 0.279
13 | Acetic acid | frbe-200804-Cu-25p-200mA-160min | 1 | 16.743 | 4731.112 | 98.92 | 0.3059 | 0.3059
14 | Acetic acid | frbe-200804-Cu-25p-200mA-180min | 1 | 16.762 | 4663.248 | 100.654 | 0.3015 | 0.3015
15 | Acetic acid | frbe-200804-Cu-25p-200mA-200min | 1 | 16.445 | 4987.258 | 111.972 | 0.3225 | 0.3225
16 | Acetic acid | frbe-200804-Cu-25p-200mA-220min | 1 | 16.458 | 5426.748 | 129.954 | 0.3508 | 0.3508
19 | Acetic acid | frbe-200804-Cu-25p-200mA-240min | 1 | 16.386 | 5937.185 | 137.08 | 0.3838 | 0.3838
20 | Acetic acid | frbe-200804-Cu-25p-200mA-260min | 1 | 16.435 | 5871.356 | 141.584 | 0.3795 | 0.3795
25 | Acetic acid | frbe-200804-Cu-25p-200mA-360min | 1 | 16.778 | 4084.178 | 129.063 | 0.2642 | 0.2642
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
3 | Methanol | frbe-200804-Cu-25p-200mA-0min | 1 | 18.958 | 36883.496 | 927.858 | 15.4876 | 15.4876
4 | Methanol | frbe-200804-Cu-25p-200mA-20min | 1 | 18.967 | 77546.91 | 1435.385 | 32.9977 | 32.9977
5 | Methanol | frbe-200804-Cu-25p-200mA-40min | 1 | 18.952 | 272112.128 | 3952.059 | 116.7797 | 116.7797
6 | Methanol | frbe-200804-Cu-25p-200mA-60min | 1 | 18.949 | 431669.596 | 5970.466 | 185.4869 | 185.4869
7 | Methanol | frbe-200804-Cu-25p-200mA-80min | 1 | 18.943 | 450673.604 | 6269.447 | 193.6703 | 193.6703
11 | Methanol | frbe-200804-Cu-25p-200mA-120min | 1 | 18.94 | 916719.266 | 12205.245 | 394.3547 | 394.3547
12 | Methanol | frbe-200804-Cu-25p-200mA-140min | 1 | 18.937 | 1051073.259 | 13717.063 | 452.2091 | 452.2091
13 | Methanol | frbe-200804-Cu-25p-200mA-160min | 1 | 18.929 | 1167683.751 | 14906.588 | 502.4229 | 502.4229
14 | Methanol | frbe-200804-Cu-25p-200mA-180min | 1 | 18.924 | 1318137.315 | 16708.854 | 567.2099 | 567.2099
15 | Methanol | frbe-200804-Cu-25p-200mA-200min | 1 | 18.908 | 1283813.865 | 16080.818 | 552.4298 | 552.4298
16 | Methanol | frbe-200804-Cu-25p-200mA-220min | 1 | 18.906 | 1471620.54 | 18492.987 | 633.3014 | 633.3014
22 | Methanol | frbe-200804-Cu-25p-200mA-300min | 1 | 18.87 | 1615827.971 | 20602.87 | 695.3988 | 695.3988
23 | Methanol | frbe-200804-Cu-25p-200mA-320min | 1 | 18.866 | 2332472.586 | 27689.547 | 1003.994 | 1003.994
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
3 | Ethanol | frbe-200804-Cu-25p-200mA-0min | 1 | 20.975 | 1896.545 | 189.706 | 0.1483 | 0.1483
4 | Ethanol | frbe-200804-Cu-25p-200mA-20min | 1 | 21 | 67756.306 | 842.925 | 6.2533 | 6.2533
5 | Ethanol | frbe-200804-Cu-25p-200mA-40min | 1 | 21.088 | 108.632 | 17.898 | -0.0174 | -0.0174
6 | Ethanol | frbe-200804-Cu-25p-200mA-60min | 1 | 21.226 | 454.151 | 21.717 | 0.0146 | 0.0146
7 | Ethanol | frbe-200804-Cu-25p-200mA-80min | 1 | 21.267 | 210.249 | 13.092 | -0.008 | -0.008
8 | Ethanol | frbe-200804-Cu-25p-200mA-100min | 1 | 21.237 | 198.043 | 19.017 | -0.0091 | -0.0091
11 | Ethanol | frbe-200804-Cu-25p-200mA-120min | 1 | 21.391 | 152.207 | 10.426 | -0.0134 | -0.0134
12 | Ethanol | frbe-200804-Cu-25p-200mA-140min | 1 | 21.433 | 390.76 | 21.359 | 0.0087 | 0.0087
13 | Ethanol | frbe-200804-Cu-25p-200mA-160min | 1 | 21.49 | 48.895 | 4.39 | -0.023 | -0.023
15 | Ethanol | frbe-200804-Cu-25p-200mA-200min | 1 | 20.906 | 637903.273 | 11293.419 | 59.1037 | 59.1037
16 | Ethanol | frbe-200804-Cu-25p-200mA-220min | 1 | 20.667 | 41263.598 | 14564.798 | 3.7975 | 3.7975
19 | Ethanol | frbe-200804-Cu-25p-200mA-240min | 1 | 21.023 | 2112164.1 | 21800.046 | 195.762 | 195.762
20 | Ethanol | frbe-200804-Cu-25p-200mA-260min | 1 | 20.841 | 21788.767 | 2640.361 | 1.9923 | 1.9923
21 | Ethanol | frbe-200804-Cu-25p-200mA-280min | 1 | 21.1 | 1813366.997 | 24446.435 | 168.0646 | 168.0646
22 | Ethanol | frbe-200804-Cu-25p-200mA-300min | 1 | 21.097 | 3422640.605 | 27631.976 | 317.2381 | 317.2381
23 | Ethanol | frbe-200804-Cu-25p-200mA-320min | 1 | 21.102 | 2330989.955 | 22074.267 | 216.0463 | 216.0463
24 | Ethanol | frbe-200804-Cu-25p-200mA-340min | 1 | 21.134 | 2095432.645 | 21214.239 | 194.211 | 194.211
25 | Ethanol | frbe-200804-Cu-25p-200mA-360min | 1 | 21.098 | 2745541.097 | 25495.948 | 254.4736 | 254.4736
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
4 | Allyl alcohol | frbe-200804-Cu-25p-200mA-20min | 1 | 21.743 | 155.997 | 42.753 | 0 | 0
5 | Allyl alcohol | frbe-200804-Cu-25p-200mA-40min | 1 | 21.751 | 8.523 | 2.023 | -0.0058 | -0.0058
6 | Allyl alcohol | frbe-200804-Cu-25p-200mA-60min | 1 | 21.765 | 1.309 | 0.677 | -0.0061 | -0.0061
7 | Allyl alcohol | frbe-200804-Cu-25p-200mA-80min | 1 | 21.779 | 4.078 | 1.175 | -0.006 | -0.006
11 | Allyl alcohol | frbe-200804-Cu-25p-200mA-120min | 1 | 22.083 | 119.964 | 8.371 | -0.0014 | -0.0014
12 | Allyl alcohol | frbe-200804-Cu-25p-200mA-140min | 1 | 21.566 | 10.143 | 3.328 | -0.0058 | -0.0058
13 | Allyl alcohol | frbe-200804-Cu-25p-200mA-160min | 1 | 22.161 | 150.798 | 9.093 | -0.0002 | -0.0002
20 | Allyl alcohol | frbe-200804-Cu-25p-200mA-260min | 1 | 22.008 | 12242.047 | 156.063 | 0.4761 | 0.4761
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
14 | Acetone | frbe-200804-Cu-25p-200mA-180min | 1 | 23.189 | 788.365 | 76.298 | 0.0182 | 0.0182
15 | Acetone | frbe-200804-Cu-25p-200mA-200min | 1 | 23.251 | 667.257 | 17.744 | 0.0092 | 0.0092
16 | Acetone | frbe-200804-Cu-25p-200mA-220min | 1 | 23.143 | 116.314 | 14.766 | -0.0315 | -0.0315
19 | Acetone | frbe-200804-Cu-25p-200mA-240min | 1 | 23.215 | 45367.307 | 4683.974 | 3.3103 | 3.3103
20 | Acetone | frbe-200804-Cu-25p-200mA-260min | 1 | 23.152 | 563.232 | 58.317 | 0.0015 | 0.0015
21 | Acetone | frbe-200804-Cu-25p-200mA-280min | 1 | 23.382 | 44557.318 | 6845.669 | 3.2505 | 3.2505
22 | Acetone | frbe-200804-Cu-25p-200mA-300min | 1 | 23.61 | 24817.179 | 7191.919 | 1.7927 | 1.7927
23 | Acetone | frbe-200804-Cu-25p-200mA-320min | 1 | 23.291 | 53755.75 | 5530.034 | 3.9298 | 3.9298
24 | Acetone | frbe-200804-Cu-25p-200mA-340min | 1 | 23.153 | 51628.714 | 7793.424 | 3.7727 | 3.7727
25 | Acetone | frbe-200804-Cu-25p-200mA-360min | 1 | 23.419 | 22632.201 | 4080.807 | 1.6313 | 1.6313
Line# | Compound | Sample Name | Inj# | RT [min] | Area | Peak Height | Amount | Concentration
14 | 2-Propanol | frbe-200804-Cu-25p-200mA-180min | 1 | 24.262 | 192.933 | 28.843 | -0.0198 | -0.0198
21 | 2-Propanol | frbe-200804-Cu-25p-200mA-280min | 1 | 24.027 | 11928.262 | 1758.629 | 0.5518 | 0.5518
22 | 2-Propanol | frbe-200804-Cu-25p-200mA-300min | 1 | 24.306 | 10327.284 | 1186.924 | 0.4738 | 0.4738
23 | 2-Propanol | frbe-200804-Cu-25p-200mA-320min | 1 | 23.935 | 1020.843 | 328.368 | 0.0205 | 0.0205
24 | 2-Propanol | frbe-200804-Cu-25p-200mA-340min | 1 | 24.071 | 6566.068 | 1227.094 | 0.2906 | 0.2906